## Camera hex. the test moves
X | Y | Z | Rx | Ry | Rz | X | Y | Z | ¦Angle°¦ | Rx | Ry | Rz |  |  |  |  | error | Move
[17 empty] | (actual-set) | #
3.3.2
w/COR=820.4mm (Z=0mm)
0 | 0 | 0 | 0.04 | 0 | 0 | 0.11 | 0.06 | 0.09 | 0.0375 | [8 empty] | 1
820400 |  |  | 0.08
Rx: 0.12; X: 0.13; Y: 0.14; Z: 0.08 | 0.1177 | [8 empty] | 2
0.16
Rx: 0.2; X: 0.09; Y: 0.14; Z: 0.09 | 0.1959 | [8 empty] | 3
Rx: 0.24; X: 0.1; Y: 0.16; Z: 0.08 | 0.2368 | [8 empty] | 4
-0.04
Rx: -0.08; X: 0.09; Y: 0.08; Z: 0.08 | 0.0832 | [8 empty] | 5
Rx: -0.17; X: 0.09; Y: 0.03; Z: 0.08 | 0.1738 | [8 empty] | 6
w/COR at Z=2758.4mm (Z=-1938mm)
2758400 |  |  | 0.04
Rx: 0.08; X: 0.08; Y: -2.56; Z: 0.07 | 0.0764 | [8 empty] | 3
0.12
Rx: 0.16; X: 0.06; Y: -5.24; Z: 0.08 | 0.1562 | [8 empty] | 4
Rx: 0.2; X: 0.06; Y: -6.58; Z: 0.06 | 0.1939 | [8 empty] | 5
0.24
Rx: -0.04; X: 0.1; Y: 1.41; Z: 0.08 | 0.0444 | [8 empty] | 1
Rx: -0.08; X: 0.1; Y: 2.74; Z: 0.08 | 0.0826 | [8 empty] | 2
3.3.3
x-talk | not done independently
3.3.4
X and Y translational range (corresponds to max radial translation of +/-7.6mm) COR= -820.4mm
7.6 | 0 | 0 | 0 | 0 | 0 | 7.52 | -0.12 | -0.02 | 0.0015 |  |  |  | 10:35AM app |  |  |  |  | 1
5.374 | 5.374 | 0 | 0 | 0 | 0
0 | 7.6 | 0 | 0 | 0 | 0
-7.6
0 | -7.6 | 0 | 0 | 0 | 0 | -0.08 | -7.64 | -0.03 | 0.0024 |  |  |  | 10:53AM | Measured with Ian on the cart |  |  |  | 2
5.374 | -5.374 | 0 | 0 | 0 | 0 | 5.28 | -5.42 | -0.04 | -0.0015 |  |  |  | 11:00AM | First point measured with Juan Lopez on cart. |  |  |  | 3
X: 3.3.5 | [5 empty] | Measured with linear gauge y=-5.326mm
X and Y translation resolution |  |  | (mitutoyos)
will be done at El=0Deg COR=-820.4mm
start from any pos in particular zero, in relative mode give offsets (5,5,-5,+5,-5)
0 | 0 | 0 | 0 | 0 | 0 | -0.047
X: 100; X: 0.103 |  |  |  |  | Mounting mitutoyo on hexapod base to get more stiff setup
200 | [5 empty] | 0.107
5 | 0 | 0 | 0 | 0 | 0 | 0.004 | [6 empty] | not good measurements!
10 | 0 | 0 | 0 | 0 | 0 | 0.01
5 | [5 empty] | 0.01
10 | [5 empty] | 0.01 | Mitutoyo spring stronger than support bar
X: 5; X: 0.01 | elastic flexure
200 | 0 | 0 | 0 | 0 | 0 | 0.01
Y: 5; Y: 0.0055 | [8 empty] | 0.5
Y: 10; Y: 0.0115 | [8 empty] | 1.5
Y: 5; Y: 0.0035 | [5 empty] | Good! |  |  | -1.5
Y: 10; Y: 0.0105 | [8 empty] | 0.5
Y: 5; Y: 0.0045 | [8 empty] | -0.5
0 | 0 | 0 | 0 | 0 | 0 |  | 0.0005
[16 empty] | stdev= | 1.1402
0 | 0 | 0 | 0 | 0 | 0 | -0.055 | in x the resolution is limited by mitutoyo setup, and = |  |  |  |  | 0.008 | mm |  |  |  |  | 0
3.3.6
Z translation COR=-820.4mm
0 | 0 | 8.7 | 0 | 0 | 0
0 | 0 | -8.7 | 0 | 0 | 0 | -0.06 | -0.09 | -8.74 | 0.0015 |  |  |  | z moved to -1000, -5000, -8700um and y moved to -1000, 5000, -8700um. |  |  |  |  | 4
X: 3.3.7 |  |  |  |  | All it is OK. Tested with Ian on the cart
Z translation resolution |  |  | (1,1,-1,1,-1um offsets) (w/mitutoyos)
0 | 0 | 0 | 0 | 0 | 0 |  |  | z
|  | 1 | [5 empty] | 0
|  | 2 | [5 empty] | 0.001
Z: 1; Z: 0.001 | Could not resolve 1micron
|  | 2 | [5 empty] | 0.001
|  | 1 | [5 empty] | 0.001
|  | 2 | [5 empty] | 0
|  | 4 | [5 empty] | 0.002
Z: 2; Z: 0.002 | Can't measure
Z: 4; Z: 0.001 | linear gauge setup not stiff enough
|  | 2 | [5 empty] | 0.001
|  | 0 | [5 empty] | 0.001
|  | 2 | [5 empty] | 0.001
x | y | z
|  | 0 | [5 empty] | Changed the Y mitutoyo to measure in the Z direction and made the setup a a little bit stiffer
|  | 2 | [5 empty] | 0.001
Z: 4; Z: 0.003 | [6 empty] | Almost worked!
|  | 2 | [5 empty] | 0.003
Z: 4; Z: 0 | Mitutoyo spring stronger than support bar
Z: 2; Z: 0 |  |  | elastic flexure
Overall conclusion the hexapod is resolving 5 microns in X and Y and 2 microns in Z, but could not measure the complete set of offset in X and Z, because of the linear gauges setup not stiff enough.